| Efficacy Tables. | # Luminous Efficacy The curves represent the spectral luminous efficacy for human vision. The lumen is defined such that the peak of the photopic vision curve has a luminous efficacy of 683 lumens/watt. This value for the scotopic peak makes the efficacy the same as the photopic value at 555 nm. The scotopic vision is primarily rod vision, and the photopic vision includes the cones. The response curve of the eye along with the spectral power distribution of a luminous object determine the perceived color of the object. Examples. Why is a candle flame yellow?. |
| --- | --- |

| Wavelength  (nm) | Photopic Luminous Efficacy V | Photopic Conversion lm/W | Scotopic Luminous Efficacy V | Scotopic Conversion lm/W |
| --- | --- | --- | --- | --- |
| 380 | 0.000039 | 0.027 | 0.000589 | 1.001 |
| 390 | 0.000120 | 0.082 | 0.002209 | 3.755 |
| 390 | 0.000120 | 0.082 | 0.002209 | 3.755 |
| 400 | 0.000396 | 0.270 | 0.009290 | 15.793 |
| 410 | 0.001210 | 0.826 | 0.034840 | 59.228 |
| 420 | 0.004000 | 2.732 | 0.096600 | 164.220 |
| 430 | 0.011600 | 7.923 | 0.199800 | 339.660 |
| 440 | 0.023000 | 15.709 | 0.328100 | 557.770 |
| 450 | 0.038000 | 25.954 | 0.455000 | 773.500 |
| 460 | 0.060000 | 40.980 | 0.567000 | 963.900 |
| 470 | 0.090980 | 62.139 | 0.676000 | 1149.200 |
| 480 | 0.139020 | 94.951 | 0.793000 | 1348.100 |
| 490 | 0.208020 | 142.078 | 0.904000 | 1536.800 |
| 500 | 0.323000 | 220.609 | 0.982000 | 1669.400 |
| 507 | 0.444310 | 303.464 | 1.000000 | 1700.000 |
| 510 | 0.503000 | 343.549 | 0.997000 | 1694.900 |
| 520 | 0.710000 | 484.930 | 0.935000 | 1589.500 |
| 530 | 0.862000 | 588.746 | 0.811000 | 1378.700 |
| 540 | 0.954000 | 651.582 | 0.655000 | 1105.000 |
| 550 | 0.994950 | 679.551 | 0.481000 | 817.700 |
| 555 | 1.000000 | 683.000 | 0.402000 | 683.000 |
| 560 | 0.995000 | 679.585 | 0.328800 | 558.960 |
| 570 | 0.952000 | 650.216 | 0.207600 | 352.920 |
| 580 | 0.870000 | 594.210 | 0.121200 | 206.040 |
| 590 | 0.757000 | 517.031 | 0.065500 | 111.350 |
| 600 | 0.631000 | 430.973 | 0.033150 | 56.355 |
| 610 | 0.503000 | 343.549 | 0.015930 | 27.081 |
| 620 | 0.381000 | 260.223 | 0.007370 | 12.529 |
| 630 | 0.265000 | 180.995 | 0.003335 | 5.670 |
| 640 | 0.175000 | 119.525 | 0.001497 | 2.545 |
| 650 | 0.107000 | 73.081 | 0.000677 | 1.151 |
| 660 | 0.061000 | 41.663 | 0.000313 | 0.532 |
| 670 | 0.032000 | 21.856 | 0.000148 | 0.252 |
| 680 | 0.017000 | 11.611 | 0.000072 | 0.122 |
| 690 | 0.008210 | 5.607 | 0.000035 | 0.060 |
| 700 | 0.004102 | 2.802 | 0.000018 | 0.030 |
| 710 | 0.002091 | 1.428 | 0.000009 | 0.016 |
| 720 | 0.001047 | 0.715 | 0.000005 | 0.008 |
| 730 | 0.000520 | 0.355 | 0.000003 | 0.004 |
| 740 | 0.000249 | 0.170 | 0.000001 | 0.002 |
| 750 | 0.000120 | 0.082 | 0.000001 | 0.001 |
| 760 | 0.000060 | 0.041 | 0.000000 | 0.000 |
| 770 | 0.000030 | 0.020 | 0.000000 | 0.000 |

# Power Per Unit Area of Surface

The power per unit area on an illuminated surface, sometimes called areance, is distinguished from the similar quantity for the source. In radiometry the surface areance may be called irradiance and luminous areance may be called illuminance. This is the quantity of practical importance in judging whether an area is lighted well enough for reading or other activities. The illuminance is measured in lux, but the older unit footcandle is still encountered.

Illuminance Ev = Luminous intensity Iv /radius2

Haut du formulaire

A source with luminous intensity Iv = candela

at a perpendicular distance of r = m = ft

provides an illuminance of Ev = lux = footcandles.

Bas du formulaire

# Surface Illuminance

The illuminance of a surface by a point source depends upon the pointance (intensity), the distance to the surface, and the angle of the surface. The illuminance is measured in lux, but the older unit footcandle is still encountered.